## Slide 1: Compensation
Of Control System
AL-Ma'moon University College
Computer Engineering Techniques
Third Stage
2024-2025

## Slide 2: Outline
Definition Of Compensation
Structure Of Compensation
Types Of Compensation
Passive Compensation Controller
Active Compensation Controller

## Slide 3: Definition Of Compensation
Increasing an component, which makes the systems’ performance to be improved, other than only varying the systems’ parameters, this procedure is called Compensation
Compensator: The compensator is an additional component or circuit that is inserted into the control system to compensate for a deficient performance.

## Slide 4: Three elements for compensation
Original part of system
Performance Requirement
Compensation device
Control system
Design and Compensation

## Slide 5: Structure Of Compensator
According to the way of compensation, the compensator can be classified into following categories:
Cascade Compensation
Compensator
Plant
C(s)
R(s) +
-
(a) Cascade Compensation

## Slide 6: Feedback compensation
C(s)
+
-
+
-
Original Part
Compensator
(b) Feedback compensation

## Slide 7: Cascade and feedback compensation
R(s)
C(s)
+
-
+
-
Original Part
Compensator
2
Compensator
1
(c)Cascade and feedback compensation

## Slide 8: Disturbance compensation
C(s)
+
+
-
Original Part
Compensator
+
(e) Disturbance compensation
Controller
+
N(s)
R(s) +

## Slide 9
Remark：
Cascade compensation and feedback compensation are inside the feedback loop.
Feed-forward compensation and disturbance compensation are outside the feedback loop.

## Slide 10
Compensator Types
Passive Compensation Controller
Lead Comp.
Lag Comp.
Active Compensation Controller
P Controller
Lead-Lag Comp.
PI
PD
PID
P: proportional I: Integral D: Differential

## Slide 11: Types Of Passive Compensation Controller
Phase-Lead Controller
Phase-Lag Controller
Phase Lead-Lag Controller

## Slide 12: Phase Lead Controller
Transfer Function (s)==
α: determines the amount of phase lead,
: is the time constant.

## Slide 13: Circuit Diagram of Phase-Lead Controller
20dB / dec
2 
20 log
1

m
Note: The maximum phase lead (φm​) occurs at a frequency ​ and the magnitude of the phase lead is: ϕm )

## Slide 14
40
20
0
10
23.8
142


1
1
2
2
100
1000
 40
 40
20
 40

L, 
20
Effect of Phase-Lead Compensation

## Slide 15: Effect of Phase-Lead Compensation
Increases Phase Margin
Improve the Transient Response
Reduction in rise time of closed loop system
Increases Bandwidth
Enhances Stability

## Slide 16: Phase Lag Controller
Transfer Function (s)==

## Slide 17: Circuit Diagram of Phase-Lag Controller
o
R1
R2
E
Ei

L( )
 20dB/ dec
20 lg 
10 lg 
 ( )
1 /
m 1/ 

 m
Maximum phase lag
ϕm )

## Slide 18: Effect of Phase-Lag Compensation
Reduces Steady-State Error
Improves Steady-State Performance
Decreases Bandwidth

## Slide 19: Phase Lead- Lag Controller

## Slide 20: Circuit Diagram of Phase Lead-Lag Controller

## Slide 21: Effect of Phase Lead -Lag Compensation
Improves Transient Response (Lead Part)
Reduces Steady-State Error (Lag Part)
Balances Stability and Accuracy

## Slide 22: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q1: A phase lead compensation leads to:
Increase in overshoot
Reduction in bandwidth of closed loop system
Reduction in rise time of closed loop system
Reduction in gain margin

## Slide 23: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q2: The transfer function of a lead controller is . The high frequency magnitude of the lead controller to dB is
1
2
3
4

## Slide 24: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q3: Controllers play the following role in control system:
They amplify the signals going to the actuator
They act on the error signal coming out of the summing junction and output a suitable to the actuator
They try to reduce steady state error optimizes overshoot.
All of the mentioned

## Slide 25: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q4: The transfer function of the compensator is . The maximum phase lead frequency and the corresponding phase is :
6 rad/sec, 36.87°
8 rad/sec, 36.87°
6 rad/sec, -36.87°
8 rad/sec, -36.87°

## Slide 26: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q5: The input of a controller is
Sensed signal
Error signal
Desired variable value
Signal of fixed amplitude not dependent on desired variable value

## Slide 27: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q6: Phase lag controller:
a) Improvement in transient response
b) Reduction in steady state error
c) Reduction is settling time
d) Increase in damping constant

## Slide 28: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q7: Addition of zero at origin:
a) Improvement in transient response
b) Reduction in steady state error
c) Reduction is settling time
d) Increase in damping constant

## Slide 29: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q8: Lag compensation leads to:
a) Increases bandwidth
b) Attenuation
c) Increases damping factor
d) Second order

## Slide 30: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q9: Lead compensation leads to:
a) Increases bandwidth
b) Attenuation
c) Increases damping factor
d) Second order

## Slide 31: CHOSE THE SUITABLE ANSWER WITH EXPLINATION
Q10: Lag- Lead compensation leads to:
a) Increases bandwidth
b) Attenuation
c) Increases damping factor
d) Second order